## Slide 1
B. Obradović1, M.Ivković2, N. Cvetanović1, S. Ivković1,
I. Krstić1, G. Sretenović1, V. Kovačević1, M. Kuraica1
Line shifts in laboratory plasma
1University of Belgrade, Faculty of Physics, Belgrade, Serbia
2University of Belgrade, Institute of Physics, Belgrade, Serbia

## Slide 2
- Stark shift (macroscopic field)
Line shifts in electrical discharges
- Stark shift (microscopic field)
Stark spectroscopy
Stark polarization spectroscopy
- Doppler shift

## Slide 3
Stark shift (macroscopic field)
Stark shifts in electrical discharges
Stark shift (microscopic field)
Stark spectroscopy
Stark polarization spectroscopy
Measurement of electron number density
Testing theoretical models
Measurement of electric field
Investigating of discharge characteristics

## Slide 4
Hydrogen Balmer alpha line
low pressure discharge in Townsend mode
to spectrometer
end-on observation
to spectrometer
side-on observation
d =1mm
H2 6mbar

## Slide 5
Hydrogen Balmer alpha line – end on
to spectrometer
end-on observation

## Slide 6
Hydrogen Balmer alpha line - unpolarized
Cathode
Anode
to spectrometer
side-on observation

## Slide 7
Hydrogen Balmer alpha line – π polarized
Cathode
Anode
to spectrometer
side-on observation

## Slide 8
Procedure for line shift measurement
N. Konjevic, Physics Reports 316 (1999) 339

## Slide 9
Line shift measurement
S. Djurovic, Z. Mijatovic, R. Kobilarov, N. Konjevic, J. Quant. Spectrosc. Radiat. Transfer 57 (1997) 695

## Slide 10
How to obtain reference (unshifted) line?
Low pressure plasma source (pen lights, HCD lamps…) - great difference in optical intensity, different optical paths
Spectra of well studied element - e.g. Fe I lines
Lines at late times during plasma decay - low accuracy
Plasma jet (low Ne) from same source

## Slide 11
Discharge tube: 1) cathode, 2) anode, 3) and 4) cathode and anode electric connection with capacitor, 5) insulator, 6) gas inlet, 7) gas outlet, 8) coaxial current connector with the cathode made of brass tubing, 9) glass tube and W - window
Nouniform plasma – foe or friend
in line shift measurement?

## Slide 12
Lines emitted
from plasma jet
Spectra recording of the Hα line together with several neutral helium lines
M Ivković, T Gajo, I Savić, N Konjević, JQSTR 161 (2015) 197–202

## Slide 13
Examples of measured Stark shifts – He I 706.522 nm
M Ivković, T Gajo, I Savić, N Konjević, JQSTR 161 (2015) 197–202

## Slide 14
Comparison of measured Stark shifts – He I 706.522 nm
M Ivković, T Gajo, I Savić, N Konjević, JQSTR 161 (2015) 197–202

## Slide 15
Examples of measured Stark shifts - HeI 728.1 nm

## Slide 16: Separation between F and A component of He I 447.1 nm line

## Slide 17
Examples of measured Stark shifts – He I 492.19 nm

## Slide 18
Examples of measured Stark shifts – He I 492.19 nm

## Slide 19
Examples of line profiles and fitting – He I 492.19 nm
M. Ivković, M. A. Gonzalez, N. Lara, M. A. Gigosos, N. Konjević, JQSRT 127(2013) 82 – 89

## Slide 20
Examples of line profiles and fitting – He I 492.19 nm

## Slide 21
He I 492.19 nm in macroscopic electric field in DBD
S S Ivković, B M Obradović, N Cvetanović, M M Kuraica and J Purić, J. Phys. D: Appl. Phys. 42 (2009) 225206

## Slide 22
Influence of the pressure on He I 492.2 nm line

## Slide 23
Influence of the pressure on He I 492.2 nm line

## Slide 24
Nouniform plasma – foe or friend
in line shift measurement?
M.M. Kuraica, N. Konjević, I.R. Videnović, Spectrochim. Acta B 52 (1997) 745

## Slide 25
Nouniform plasma – foe or friend
in line shift measurement?
B.M. Obradović, M.M. Kuraica, Physics Letters A 372 (2008) 137–140

## Slide 26
Nouniform plasma – foe or friend
in line shift measurement?
N. M. Šišović,et al, J. Anal. At. Spectrom., 29 (2014) 2058–2063

## Slide 27
Nouniform plasma – foe or friend
in line shift measurement?
Dielectric Barrier Discharge at 1000 mbar

## Slide 28
Carbone E and Nijdam S 2014 Plasma Sources Sci. Technol. 23 012001
DBD plasma jet
to spectrometer
Nouniform plasma – foe or friend
in line shift measurement?
“plasma bullet”
G.B. Sretenović , I.B. Krstić, V.V. Kovačević , B.M. Obradović and M.M. Kuraica, Appl. Phys. Lett. 99, 161502 (2011)

## Slide 29
d = 0.03 mm
“plasma bullet”
or guided streamer
Notes: This is an illustration of the origin of line components in the measured overall profile. The shifted forbidden and allowed components come from the front of the streamer head where nearly directed electric field is present.

## Slide 30
d = 0.03 mm
“plasma bullet”
or guided streamer
Notes: We presume that the most intensity of the FF component comes from plasma streamer tail.

## Slide 31
Doppler shift in hollow cathode discharge
H+ fast + H2 slow → H fast + H2+slow

## Slide 32
Doppler shift of hydrogen Balmer lines

## Slide 33
Doppler shift of hydrogen Balmer lines

## Slide 34
N+ fast + N2 slow → N fast + N2+slow

## Slide 37
O+ fast + O2 slow → O fast + O2+slow

## Slide 40
Study of the dynamics of a barrier hollow-cathode discharge using a broadened Hα line
E

## Slide 41
+
H+
C
-
+
+
E
H2+
C
-
H+ fast + H2 slow → H fast + H2+slow
A
+
+

## Slide 42
C
-
+
-
E
C
-
e-+ H2 → H*+ H + e-
A
+
+

## Slide 43
C
-
+
-
E
C
-
e-+ H → H*+ e-
A
+
+

## Slide 44
Study of the dynamics of a barrier hollow-cathode discharge using a broadened Hα line

## Slide 45
Study of the dynamics of a barrier hollow-cathode discharge using a broadened Hα line

## Slide 46
Study of the dynamics of a barrier hollow-cathode discharge using a broadened Hα line

## Slide 47
Study of the dynamics of a barrier hollow-cathode discharge using a broadened Hα line

## Slide 48
Study of the dynamics of a barrier hollow-cathode discharge using a broadened Hα line

## Slide 49
Study of the dynamics of a barrier hollow-cathode discharge using a broadened Hα line

## Slide 50
Study of the dynamics of a barrier hollow-cathode discharge using a broadened Hα line
B M Obradović, S S Ivković, N Cvetanović and M M Kuraica, Plasma Sources Sci. Technol. 23 (2014) 015021

## Slide 51
Study of the dynamics of a barrier hollow-cathode discharge using a broadened Hα line

## Slide 52
Thank you for your attention!